CHAPTER 11

BUILDING CODE ORDINANCE FOR THE TOWN OF FREEPORT, MAINE

- Adoption of BOCA Basic/National Building Code

There is hereby adopted for the purpose of regulating the construction, alteration, addition, repair, removal, demolition, use, location, occupancy and maintenance of all buildings and structures within the Town of Freeport the BOCA Basic/National Building Code/1984, 9th Edition, with amendments contained in the 1986 Accumulative Supplement, published by Building Officials and Code Administrators, International Inc., except for such portions thereof as are deleted, modified or amended in this Ordinance.

- Definitions

The BOCA Basic/National Building Code shall be construed as follows:

  - Name of jurisdiction: wherever the phrase “name of jurisdiction” appears in the code, “the Town of Freeport” shall be substituted;

  - Name of state: wherever the phrase “name of state” appears in the code, “the State of Maine” shall be substituted;

  - Building Official: wherever the term “building official” appears in the code, it shall mean the Codes Enforcement Officer of the Town of Freeport.

- Amendments

The BOCA Basic/National Building Code is amended as follows:

  - Section 103.4, “Rehabilitation” as it appears in the 1986 Accumulative Supplement, is amended by deleting the words enclosed in brackets and substituting the effective date of this Ordinance.

  - Section 11.4.3.1, “Fee Schedule”, is repealed and replaced as follows:

114.3.1 Fee Schedule:  a fee for each plan examination, building permit       and inspection shall be paid in accordance with a fee schedule established by the Town Council, as such may be amended by the Town Council from time to time.

(c)	Section 117.4, “Violation Penalties”, is repealed and replaced as follows:

117.4 Violation Penalties:  any person who shall violate a provision of this code or shall fail to comply with any of the requirements thereof or who shall erect, construct, alter or repair a building or structure in violation of an approved plan or directive of the building official, or of a permit or certificate issued under the provisions of this code, shall commit a civil violation and shall be subject to fines and penalties as provided in Section 4496 of Title 30 of the Maine Revised Statutes.  Each day that a violation continues shall be deemed a separate offense.

- Section 118.2, “Unlawful Continuance”, is repealed and replaced as follows:

118.2 Unlawful Continuance:  any person who shall continue any work in or about the structure after having been served with a stop work order, except such work as that person is directed to perform to remove a violation or unsafe conditions, shall commit a civil violation and shall be subject to fines and penalties as provided in Section 4966 of Title 30 of the Maine Revised Statutes.

- Section 123.0, “Board of Survey”, is deleted in its entirety.

- Section 124.0, “Board of Appeals”, is repealed and replaced as follows:

  - Appeals to Board of Appeals:  appeals from decisions of the building official under this code may be taken to the Board of Appeals as an administrative appeal pursuant to the provisions of the Freeport Zoning Ordinance.,

- Section 1807.2.1, “Deep Excavations” is amended by deleting the words “(number) feet (meters)”  and substituting the words “4 feet”.

- Section 1807.2.2, “Shallow Excavations” is amended by deleting the words “(number) feet (meters)” and substituting the words “4 feet”.

- Delete Section 1900.00 altogether (Signs).

- Section 2204.0, “Water Supply Systems”

(1)  2204.3.1     	No well shall be located within 100 feet of any subsurface waste disposal system located on the same parcel or on any other parcel.

(2)  2204.3.2	No subsurface waste disposal system shall be located within 100 feet of a well located either on the same parcel or on any other parcel.

(k)	Section 2207.0  Public Rest Rooms in Retail Establishments

(1)	Any building or facility used for retail trade, and containing from 2500 to 4999 sq. ft. of gross floor area, regardless of its division into more than one separate retail establishment, shall locate the rest rooms required by the State Plumbing Code, Appendix A, Minimum Plumbing Facilities, for total number of employees, in at least one central location which is accessible to the public, available  for public use free of charge, open during regular business hours, and identified as a public rest room.

(2)	Any building or facility used for retail trade and having a minimum of 5000 sq. ft. of gross floor area, regardless of its division into more than one separate retail establishment, shall provide public rest rooms which are in at least one central location, accessible to the public, available for public use free of charge, open during regular business hours and identified as public rest rooms, according to the following formula:

Building Size (square feet) Rest Rooms

5,000 – 10,000	Male (1 water closet, 1 lavatory)

Female (1 water closet, 1 lavatory)

10,001 – 15,000	Male (2 water closets, 2 lavatories)

Female (2 water closets, 2 lavatories)

Each additional	Male (1 water closet, 1 lavatory)

10,000 sq ft.		Female (1 water closet, 1 lavatory)

Whenever urinals are provided, one (1) water closet less than the number     specified may be provided for each urinal installed except the number of water closets in such cases shall not be reduced to less than two-thirds (2/3) of the minimum specified.

(3)	If restrooms in a building of facility are required to be available to the public, signage identifying their availability shall be placed in a minimum of two locations: in a visible location inside the building near each public entrance and in a visible location inside the building on or near the restrooms’ facilities.

The public rest rooms shall be in addition to those required for the total number of employees by the State Plumbing Code, Appendix A, Minimum Plumbing Facilities.  However, if the employee rest rooms meet the requirements described in Paragraph A above for public rest rooms, they may be counted toward the number of required public rest rooms. If employee rest rooms are not available to the public, they shall be physically separated from the required public rest rooms.