CHAPTER 12   WASTEWATER TREATMENT SYSTEM

Notwithstanding the provisions of Title 38 M.R.S.A., Section 414,

414A, except as provided below, it shall be unlawful to construct,

maintain, or use any privately owned waste water treatment system,

including any mechanical or sand filter system, which discharges any

treated or untreated waste waters into the fresh or salt waters of

Freeport.

Any such treatment system licensed by the Maine Department of

Environmental Protection and in use as of June 1, 1986, may continue

in use so long as the discharges therefrom continue to meet the

"effluent limitations" and "license parameters" imposed by the

Department of Environmental Protection in each case, including the

specific allowances for maximum flow, B.O.D., settleable solids, total

suspended solids, fecal coliform bacteria, and maximum chlorine

residual, as determined by periodic tests conducted by the Town of

Freeport, the Department of Environmental Protection, the Department

of Marine Resources, the owner or the owner's agent.  If any such test

reveals a failure to meet one or more of the license conditions, the

Freeport Code Enforcement Officer shall, by written notice sent by

Certified Mail, give the owner or operator of the system fourteen days

from receipt of the notice to rectify the failure.  The Codes

Enforcement Officer shall also require the owner or operator of the

system to have it immediately pumped to avoid any discharge of

effluent during this repair period.

If subsequent testing reveals a new or continuing failure of the

system to meet the license conditions, or if the Department of Marine

Resources determines that the effect of the discharge requires closure

of clam flats within 3,000 feet of the discharge pipe, then the Codes

Enforcement Officer shall notify the owner or operator in writing by

Certified Mail that use of such system must immediately cease, and

thereafter any replacement system must be both allowed under the State

Plumbing Code and not prohibited by this Ordinance.

This Ordinance is adopted under the Town's general police powers under

the authority of Home Rule (Title 30 M.R.S.A., Sections 2151 and

1917).  Should any provision of this Ordinance be declared by the

courts to be invalid, such decision shall not invalidate any other

provision of this ordinance.  If any provisions of this ordinance

conflict with any other ordinance of the Town or with any regulation

of the Department of Environmental Protection, the stricter provision

shall apply.

-1-