CHAPTER 17  ELECTRICAL CODE ORDINANCE FOR

THE TOWN OF FREEPORT, MAINE

1.  Adoption of National Electrical Code

There is hereby adopted for the purpose of regulating all new design,

construction and installation of electrical conductors, equipment and

systems and all alterations to existing wiring systems within the Town

of Freeport the most current edition of the National Electrical Code,

published by the National Fire Protection Association (the "Code").

The provisions of the Code shall govern all electrical work within the

Town of Freeport, except that the administrative provisions of this

Ordinance shall control in the event of conflict with the Code.  The

Code is adopted by reference pursuant to Section 2156 of Title 30 of

the Maine Revised Statutes.

2.  Permit Required

No person shall commence any electrical work of the type described in

Section 1. above without first obtaining the required permit from the

Codes Enforcement Officer and paying the permit fee according to the schedule

contained in Section 3 of this Ordinance.  Application shall be made on a form

provided by the Codes Enforcement Officer, and the applicant shall present his

license to the Codes Enforcement Officer at the time the application and fee

are tendered.  Where the Code permits a homeowner to do electrical work in his

own home, no license need be presented, but a permit must be obtained and the

fee paid.

3.  Fees

Upon application for a permit under the Code, the applicant shall pay a permit

fee according to the following schedule:

a.  For residential work:

$.03 per square foot of floor area;

The minimum charge for residential work shall be $15.00.

b.  For commercial work:

$.06 per square foot of floor area up to 5,000 square feet plus;

$.03 per square foot of floor area from 5,000 square feet  to 10,000 square

feet, plus;

$.02 per square foot of floor area in excess of 10,000 square feet.

The minimum charges for commercial work shall be $25.00 up to 400 amp - three

phase or;

$50.00 from 400 amp to 1,000 amp - three phase.

c.  For temporary service if separate from Electrical Permit:

$15.00 for residential - 100 amp maximum

$15.00 for commercial - 100 amp single phase.

If an applicant has commenced work prior to making application for the

required permit, the above fees are doubled.  In the event the electrical

inspector is required to reinspect work which was done in violation of the

Code, then the applicant shall pay a reinspection fee of $10.00 before the

reinspection can occur.

4.  Electrical Inspector

Inspections under this Ordinance shall be performed by an electrical inspector

appointed by the Town Manager and serving as an assistant to the Codes

Enforcement Officer.  The electrical inspector shall hold a valid Masters

License and shall be compensated as follows:

a. 	 For inspection of residential work, $.02 per square foot of floor

area, with minimum payment of $15.00;

b. 	 For inspection of commercial work, $15.00 per hour of time spent

conducting the inspections, rounded to the nearest one half hour.  The

electrical inspector shall maintain contemporaneous records of time spent on

commercial inspections and submit them to the Codes Enforcement Officer.

5.  Inspection Required

No person shall install insulation over or otherwise cover any electrical work

for which a permit is required under the Code until the electrical inspector

has inspected and approved the work.  Upon inspection, the electrical

inspector shall either approve the work in writing or disapprove the work in

writing with all violations of the Code noted.  The electrical inspector shall

post the results of his inspection on the job site and submit copies to the

Code Enforcement Officer within 24 hours after completing the inspection.

Where the work is disapproved, the electrical inspector shall advise the

applicant that the work can be reinspected upon completion in accordance with

the Code and upon the payment of the $10.00 reinspection fee.

6.  Connections Must Be Approved

No person shall connect electrical service to or cause electrical service to

be connected to any building, structure or property on which electrical work

governed by the Code has been performed until the permit required by this

Ordinance has been obtained, the electrical inspector has inspected the work

and the electrical inspector has approved the work under the provision of this

Ordinance.

7.  Violation Penalties

Any person who violates any provision of this Ordinance shall commit a civil

violation and shall be subject to fines and penalties as provided in Section

4966 of Title 30 of the Maine Revised Statutes.  Each day that a violation

continues shall be deemed a separate offense.